National Jute Board

Ministry of Textiles, Govt. of India

3A & 3B, Park Plaza,

71, Park Street, Kolkata 700 016

NIT No. 2/NJB/JGT/CFC/TENDER/ 2013-14                      Date: 14th June, 2013

Sealed offers are invited from bonafide manufacturers / dealers for supply of one Dynamic Static Cone Petetrometer (DSCP) Instrument for use by this office.  The instrument shall have the following features:

- Application: Determination of in-situ strength properties of road pavement layers;

- Components / Accessories:

- Sliding hammer of weight 8 kg;

- Guide rod and anvil to give fall of 575 mm;

- Scale for measurement of penetration depth;

- Cone Hardened and Guided with 20 mm as apex diameter and 60˚ cone angle;

- Extension rods of 400 mm length – 10 nos.

C.	Features: Portable, Lightweight

D.	Warranty: On-site comprehensive warranty for 3 (three) years for all 	components.

E.	The successful supplier will be required to demonstrate application of the 	instrument at a site in Kolkata.

F.	The offer shall include all taxes, cess, transport cost and incidentals

G.	Offer addressed to the Secretary, National Jute Board in a sealed envelope  	shall reach National Jute Board (PMU) at 75C Park Street (6th floor), 	Kolkata 700 016 by 25th June, 2013 at the latest

H.	National Jute Board reserves the right to reject any or all offers without 	assigning any reason.

Chief Consultant

On behalf of Secretary, National Jute Board